# Chemicals

Hazardous chemicals can’t be stored or handled any which way.  The risks of fire, explosion, or toxic exposure are as great in the storage area as in the work area.  In fact, storage areas usually contain more substances, and more diverse ones, than the work area—creating even greater risks of leaks and incompatibles.  That diversity also makes ignorance or carelessness in handling the chemicals extremely dangerous.

No chemical, no matter how small the quantity, can be taken lightly.  It‘s a good idea to restrict storage area access to people who understand the hazards and take proper precautions.  Everyone who has access to the storage room—including receiving personnel—must know how to find and use the safety information on labels and material safety data sheets (MSDSs).  They should also be aware of some commonsense guidelines of safe chemical storage.

Incompatible Chemicals

One of the biggest risks in chemical storage is haphazard arrangement of incompatible chemicals—chemicals that can react together to create toxic smoke, gas, heat, mists, fire, or explosion.  Luckily, you don’t have to be a chemist to know which chemicals to keep away from each other.  Their MSDSs will tell you that.  But every employee with access to the storage area must recognize the risks of incompatibles and always check the MSDS before storing a chemical to be sure no dangerous reactions are possible.

There are several types of chemicals that require particular caution:

- Organic oxidizers that come in contact with combustible materials can cause them to burn or increase their burning rate.  Some can even explode when exposed to heat, shock, or friction.  Therefore, storage areas must clearly identify and label oxidizers so as to indicate the type and degree of hazard.

- Inorganic oxidizers, which do not contain carbon, are even more common.  While they don‘t burn, they add oxygen to the fire and are particularly dangerous when brought together with organic materials.  Therefore, they must be kept away from any material that could burn, as well as from other oxidizers.  Large quantities of inorganic oxidizers may have to be stored in a separate room with specific fire-protection requirements.

- Acids, which may be oxidizers, can create toxic emissions or fires if they react with bases, active metals, flammable and combustible material, and with other chemicals.  Acids in containers that have been transported may also have Department of Transportation “corrosive” warning labels.

- Bases, materials that are soluble in water and produce hydroxide ions in solution, have to be kept separate from acids.

- Flammable materials have to be kept away from oxidizers, oxidizing acids, and any source of ignition.

Selecting Containers

Keeping incompatibles away from each other is just one necessity in a hazardous-chemical storage area.  Another is being sure that chemicals are stored in appropriate containers.

Flammable liquids, for instance, must be kept in approved fireproof or fire-resistant safety containers—not plastics—and checked regularly for leaks.  In many cases, the flammable containers may have to be kept in safety cabinets that meet NFPA fireproofing standards.

Large quantities of flammable liquids will probably be stored in drums, which should be grounded to prevent the possibility of fire when the liquid is removed.

You can also improve safety by thinking about the placement of hazardous chemical containers.

- Keep large bottles of acids on low shelves so they’re easier to get to.

- Keep containers holding liquid bases on lower shelves than bases in dry forms.

- Store drums individually, not in stacks, on racks with other similar materials.

Handle Stored Chemicals Sensibly

Placement of chemicals is just one aspect of storage safety.  It‘s just as important to take precautions when moving or transferring the substances.  For example, it’s a good idea to avoid taking chemicals through areas that contain incompatibles. In addition, anyone who handles chemical containers should follow these precautions:

- Wear gloves and other PPE recommended on the MSDS.

- Check containers regularly for leaks, wear, complete labels, and dates.  Report any problems immediately.

- Don‘t use anything from an unlabeled container.

- Keep containers closed when not in use—and take only what you need for a job.

- Don’t siphon by mouth.

- Use bonding and grounding connections on flammable liquid containers during transfer.

- Transport acid bottles in carriers, not by hand.

- Don‘t mix chemicals with each other or any substance (even water) without specific instructions to do so.

- Keep storage areas clean, neat, and free of dust.

- Don’t block aisles, exits, sprinklers, or firefighting equipment.

Plan for Fast Emergency Response

Storage areas should be designed to minimize risk and make response to emergencies easier.

You reduce the risks by making sure that the area is well-ventilated and sufficiently well-lit to make it easy to read labels and rack and shelf identification.  The floor should be made of material—like concrete, for example—that will not absorb liquids.  Be sure that your storage area is also equipped to allow you to respond quickly to emergencies.  That means easy access for emergency personnel and equipment.  In addition, there should be at least 18 inches clearance between stored materials and sprinklers—36 inches if you‘re storing very flammable material.

To be prepared for an emergency, you should also probably have:

- A copy of your company’s emergency response plan

- Material safety data sheets with emergency response guidelines for the chemicals stored

- An eyewash that can be reached within 15 seconds from the areas where acids and bases are stored

- An emergency shower

- Firefighting and spill cleanup equipment.