# Ventilation for indoor air quality

Does the HVAC system provide at least the quantity of outdoor air designed into the system at the time the building was constructed?

Is the HVAC system inspected at least annually and maintained so that it is clean and efficient?

Are efforts made to purchase furnishings or building treatments that do not give off toxic or offensive vapors?

Are indoor air quality complaints investigated, and are the results conveyed to workers?