## Cold Work Permit Form

NB: No work is to be conducted on insulated metal panels with combustible cores without a permit.

| Date |  | Permit No. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Work to be Done |  |  |  |  |  |
| Location |  |  |  |  |  |
| Hot Work |  |  |  |  | Yes / No |
| Is any hot work (cutting, welding, grinding) to be carried out? |  |  |  |  |  |
| Has a hot work permit been issued? |  |  |  |  |  |
| Penetrations |  |  |  |  |  |
| Does the work require penetration of the non-combustible outer layer of the panel? |  |  |  |  |  |
| If so what tools will be used to cut the panel? |  |  |  |  |  |
| Checks |  |  | OK No N/A |  | Action Required? |
| 1. Production staff have been advised |  |  |  |  |  |
| 2. No heat producing equipment to be used |  |  |  |  |  |
| 3. Fire extinguisher and/or fire hose reel accessible |  |  |  |  |  |
| 4. Sprinklers and other fire protection equipment is operational |  |  |  |  |  |
| 5. Mechanical fastening of any fixtures |  |  |  |  |  |
| 6. No electrical equipment or other potential ignition sources to be installed on or adjacent to panels |  |  |  |  |  |
| Authorisation (Responsible Officer) |  |  |  |  |  |
| This permit is valid from: ____ am/pm on ____/____/____ until: ____ am/pm on ____/____/____ Signed: Name: Title: |  |  |  |  |  |

| Operator (Person conducting work) |  |  |
| --- | --- | --- |
| I understand that I am authorised to undertake only the work specified above on insulated metal panels with combustible cores. Signed: Name: Title: |  |  |
| Final Check | OK No N/A | Action Required? |
| The authoriser is to re-inspect the work area at least 30 minutes after the completion of the works. |  |  |
| 1. All joint strips that have been removed have been replaced |  |  |
| 2. All exposed insulation and penetrations have been appropriately covered and sealed with metal plating |  |  |
| 3. There is no evidence of fire, hot surfaces, or potential ignition sources |  |  |
| 4. All waste materials have been removed |  |  |
| Signed: Name: Title: |  |  |